## NQAC York Pricelist
| Last update | 06/12/2024 (effective 01/01/2025)
| Disclaimer: | We reserve ourselves the right to subcontract analyses which were initially planned to be carried out in the laboratory in case of high workload or in case of analytical problems.
| For Chemistry only: | A premium charge of 50% is added to the given price when URGENT samples (ZRPD) are requested and all results from the sample are delivered within urgent TAT (as stated in the SLA).
| Workcenter QM002157-Chem QM002159-Micro | Status | Insp. method plant | Inspection method | Short text | Search field | Plant | Master insp.charac. | Short text | Price | Currency | Local method reference | Accredited | Comment | Price evolution
1 | QM002157 | Chemical Analysis - QM002157
2 | QM002157 | Nutritional Analysis - QM002157
3 | QM002157 | Active | A029 | 40623 | Moisture by oven drying | LM143 | A029 | 10324 | Moisture | 18 | GBP | LM 143 |  |  | +6%
4 | QM002157 | Active | A029 | 433 | Ash determination | LI-00.565-4 | A029 | 10056 | Ash, Total | 18 | GBP | LM 005 (LI-00.565) |  |  | +6%
6 | QM002157 | Active | A029 | 928 | Fat by Mojonnier method | LI-00.520-5 | A029 | 10202 | Fat content | 45 | GBP | LM 009 (LI-00.520) |  |  | +13%
7 | QM002157 | Active | A029 | 40624 | Total fat content by acid hydrolysis | LM107 | A029 | 10202 | Fat content | 72 | GBP | LM 107 |  |  | +9%
8 | QM002157 | Active | A029 | 1204 | Total nitrogen automated kjeldahl method | LI-00.556-5 | A029 | 10062 | Crude proteins | 40 | GBP | LM 024 (LI-00.556) |  | If protein and nitrogen are requested cost = £40 | +45%
9 | QM002157 | Active | A029 | 1204 | Total nitrogen automated kjeldahl method | LI-00.556-5 | A029 | 10499 | Nitrogen, Total | 40 | GBP | LM 024 (LI-00.556) |  |  | +45%
10 | QM002157 | Active | A029 | 999 | Total Nitrogen & Protein by Combustion | LI-00.557-2 | A029 | 10062 | Crude proteins | 32 | GBP | LM 170 (LI-00.557) |  | If protein and nitrogen are requested cost = £32 | +16%
11 | QM002157 | Active | A029 | 999 | Total Nitrogen & Protein by Combustion | LI-00.557-2 | A029 | 10499 | Nitrogen, Total | 32 | GBP | LM 170 (LI-00.557) |  |  | +16%
12 | QM002157 | Active | A029 | 1581 | Sodium by MP-AES | LI-00.046 | A029 | 10434 | Sodium (Na) | 56 | GBP | LI-00.046 | û |  | +24%
13 | QM002157 | Fibre Analysis - QM002157
14 | QM002157 | Active | A029 | 40991 | TDF by AOAC 991.43 with fructanase | LM173(AOAC991.43 MODIFIED) | A029 | 10172 | Fiber, total dietary (TDF) - Enzyme Method | 130 | GBP | LM173(AOAC991.43 MODIFIED) |  |  | +13%
17 | QM002157 | Active |  |  | TDF by AOAC 991.43 with fructanase | LM173(AOAC991.43 MODIFIED) |  |  | Sum of Fibres | 0 | GBP | LM173(AOAC991.43 MODIFIED) |  | Included in cost of Fibre analysis if required | No Change
18 | QM002157 | Active | A029 | 40929 | Total Dietary Fibres Modified AOAC991.43 | LM172(AOAC-991.43) | A029 | 10172 | Fiber, total dietary (TDF) | 130 | GBP | LM172(AOAC-991.43) |  | If all 3 methods (TDF, Insoluble and Soluble) are requested the charge is £130 + £160 | +13%
19 | QM002157 | Active | A029 | 40929 | Total Dietary Fibres Modified AOAC991.43 | LM172(AOAC-991.43) | A029 | 10880 | Fibre, soluble | 160 | GBP | LM172(AOAC-991.43) |  | If all 3 methods (TDF, Insoluble and Soluble) are requested the charge is £130 + £160 | +7%
20 | QM002157 | Active | A029 | 40929 | Total Dietary Fibres Modified AOAC991.43 | LM172(AOAC-991.43) | A029 | 10881 | Fibre, insoluble | 160 | GBP | LM172(AOAC-991.43) |  | If all 3 methods (TDF, Insoluble and Soluble) are requested the charge is £130 + £160 | +7%
21 | QM002157 | Active | A029 | 40931 | Total Dietary Fiber in Foods & Ingredients | AOAC-2017.16 | A029 | 10172 | FIBER, total dietary (TDF) AOAC 2017.16 | 336 | GBP | N/A | û | Offered for specific matrices / products. Outsourced to NQAC Dublin. | No Change
22 | QM002157 | Active | A029 | 655 | Total Fructans in Food and Pet Food - Si | LI-00.581 | A029 | 10807 | Fructans | 180 | GBP | LM 153 (LI-00.581) |  |  | +29%
23 | QM002157 | Active | A029 | 40916 | Total Fructans by enzymatic method | AOAC-999.03(Modified) | A029 | 10807 | Fructans | 150 | GBP | LM152(AOAC999.03(Modified)) |  |  | +11%
24 | QM002157 | Active | A029 | 845 | Galactooligosaccharides (GOS) in Infant | LI-08.089 | A029 | 11820 | Galactooligosaccharide (GOS) | 200 | GBP | LM162(LI-08.089) |  |  | +38%
25 | QM002157 | Calculations - QM002157
26 | QM002157 | Active | A029 | 40606 | Derivation of nutritional data by analys | ANALSOP45 | A029 | 10876 | Energy | 15 | GBP | ANALSOP45 |  | Accreditation pending | +50%
27 | QM002157 | Active | A029 | 40606 | Derivation of nutritional data by analys | ANALSOP45 | A029 | 16844 | Available nitrogen | 0 | GBP | ANALSOP45 | û | Cost included within Energy calculation. | No Change
28 | QM002157 | Active | A029 | 40606 | Derivation of nutritional data by analys | ANALSOP45 | A029 | 16845 | Available protein | 0 | GBP | ANALSOP45 | û | Cost included within Energy calculation. | No Change
29 | QM002157 | Active | A029 | 40606 | Derivation of nutritional data by analys | ANALSOP45 | A029 | 17135 | Carbohydrates, available in coffee | 15 | GBP | ANALSOP45 | û |  | +50%
30 | QM002157 | Active | A029 | 40606 | Derivation of nutritional data by analys | ANALSOP45 | A029 | 80040 | Carbohydrate total including fibre | 15 | GBP | ANALSOP45 |  | Accreditation pending | +50%
31 | QM002157 | Active | A029 | 40606 | Derivation of nutritional data by analys | ANALSOP45 | A029 | 80040G04 | Carbohydrates total excluding fibre | 15 | GBP | ANALSOP45 |  | Accreditation pending | +50%
32 | QM002157 | Simple Sugar Profile - QM002157
33 | QM002157 | Active | A029 | 1428 | Sugars by HPAEC-PAD | LI-00.593-01 | A029 | 10218 | Fructose (Free) | 90 | GBP | LM 167 (LI-00.593) |  | Cost is £90 for any combination of sugars. Can be carried out at LOQ<0.3 and LOQ<0.1 or for lactose LOQ<0.01 | +15%
34 | QM002157 | Active | A029 | 1428 | Sugars by HPAEC-PAD | LI-00.593-01 | A029 | 10226 | Glucose, D (Free) | 90 | GBP | LM 167 (LI-00.593) |  | Cost is £90 for any combination of sugars. Can be carried out at LOQ<0.3 and LOQ<0.1 or for lactose LOQ<0.01 | +15%
35 | QM002157 | Active | A029 | 1428 | Sugars by HPAEC-PAD | LI-00.593-01 | A029 | 10278 | Lactose | 90 | GBP | LM 167 (LI-00.593) |  | Cost is £90 for any combination of sugars. Can be carried out at LOQ<0.3 and LOQ<0.1 or for lactose LOQ<0.01 | +15%
36 | QM002157 | Active | A029 | 1428 | Sugars by HPAEC-PAD | LI-00.593-01 | A029 | 10301 | Maltose | 90 | GBP | LM 167 (LI-00.593) |  | Cost is £90 for any combination of sugars. Can be carried out at LOQ<0.3 and LOQ<0.1 or for lactose LOQ<0.01 | +15%
37 | QM002157 | Active | A029 | 1428 | Sugars by HPAEC-PAD | LI-00.593-01 | A029 | 10458 | Sucrose (Saccharose) (Free) | 90 | GBP | LM 167 (LI-00.593) |  | Cost is £90 for any combination of sugars. Can be carried out at LOQ<0.3 and LOQ<0.1 or for lactose LOQ<0.01 | +15%
38 | QM002157 | Active | A029 | 1428 | Sugars by HPAEC-PAD | LI-00.593-01 | A029 | 12603 | Galacose (Free) | 90 | GBP | LM 167 (LI-00.593) |  | Cost is £90 for any combination of sugars. Can be carried out at LOQ<0.3 and LOQ<0.1 or for lactose LOQ<0.01 | +15%
39 | QM002157 | Active | A029 | 1428 | Sugars by HPAEC-PAD | LI-00.593-01 | A029 | 10459 | Low lactose | 90 | GBP | LM 167 (LI-00.593) |  | Lactose with LOQ<0.01 | No Change
40 | QM002157 | Active | A029 | 1428 | Sugars by HPAEC-PAD | LI-00.593-01 | A029 | 10459 | Sum of Sugars | 90 | GBP | LM 167 (LI-00.593) |  | All 6 sugars must be requested in order for Sum of Sugars to be requested. | No Change
41 | QM002157 | Free and Total Sugar Profile - QM002157
42 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 10218 | Fructose (Free) | 17.5 | GBP | LM169 (LI-21.057) | û | Full Free Sugar profile must be requested @ £175 | +8%
43 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 10226 | Glucose, D (Free) | 17.5 | GBP | LM169 (LI-21.057) | û | Full Free Sugar profile must be requested @ £175 | +8%
44 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 10276 | Mannitol (E421) (Free) | 17.5 | GBP | LM169 (LI-21.057) | û | Full Free Sugar profile must be requested @ £175 | +8%
45 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 10458 | Sucrose (saccharose) (Free) | 17.5 | GBP | LM169 (LI-21.057) | û | Full Free Sugar profile must be requested @ £175 | +8%
46 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 11604 | Fucose (Free) | 17.5 | GBP | LM169 (LI-21.057) | û | Full Free Sugar profile must be requested @ £175 | +8%
47 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 11989 | Mannose (Free) | 17.5 | GBP | LM169 (LI-21.057) | û | Full Free Sugar profile must be requested @ £175 | +8%
48 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 12603 | Galactose (Free) | 17.5 | GBP | LM169 (LI-21.057) | û | Full Free Sugar profile must be requested @ £175 | +8%
49 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 12606 | Ribose (Free) | 17.5 | GBP | LM169 (LI-21.057) | û | Full Free Sugar profile must be requested @ £175 | +8%
50 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 12608 | Xylose (Free) | 17.5 | GBP | LM169 (LI-21.057) | û | Full Free Sugar profile must be requested @ £175 | +8%
51 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 15738 | Rhamnose + Arabinose (Free) | 17.5 | GBP | LM169 (LI-21.057) | û | Full Free Sugar profile must be requested @ £175 | +8%
52 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 10518 | Galactose (Total) | 21.88 | GBP | LM169 (LI-21.057) | û | Full Total Sugar profile must be requested @ £175 | +8%
53 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 11613 | Fucose (Total) | 21.88 | GBP | LM169 (LI-21.057) | û | Full Total Sugar profile must be requested @ £175 | +8%
54 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 12601 | Xylose (Total) | 21.88 | GBP | LM169 (LI-21.057) | û | Full Total Sugar profile must be requested @ £175 | +8%
55 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 12604 | Glucose, D (Total) | 21.88 | GBP | LM169 (LI-21.057) | û | Full Total Sugar profile must be requested @ £175 | +8%
56 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 12605 | Fructose (Total) | 21.88 | GBP | LM169 (LI-21.057) | û | Full Total Sugar profile must be requested @ £175 | +8%
57 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 12607 | Ribose (Total) | 21.88 | GBP | LM169 (LI-21.057) | û | Full Total Sugar profile must be requested @ £175 | +8%
58 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 12609 | Mannose (Total) | 21.88 | GBP | LM169 (LI-21.057) | û | Full Total Sugar profile must be requested @ £175 | +8%
59 | QM002157 | Active | A029 | 21051 | Carbohydrates in coffee HPAEC | LI-21.057 | A029 | 15737 | Rhamnose + Arabinose (Total) | 21.88 | GBP | LM169 (LI-21.057) | û | Full Total Sugar profile must be requested @ £175 | +8%
60 | QM002157 | Fatty Acid Profile Analysis - QM002157
61 | QM002157 | Active | A029 | 731 | Fatty Acids in Cereal and Meat Based Pro | LI-00.513 |  |  | See Golden Inspection plan for Specific MIC codes | 125 | GBP | LI-00.513 |  | Cost will be £125 for full fatty acid profile, any number of individual fatty acids, or for routine combination of groups (Total, Sats, Mono, Poly, TFA). | +12%
62 | QM002157 | Active | A029 | 422 | Fatty acid composition by capillary GLC | LI-00.511-2 |  |  | See Golden Inspection plan for Specific MIC codes | 125 | GBP | LM031 (LI-00.511) |  | Cost will be £125 for full fatty acid profile, any number of individual fatty acids, or for routine combination of groups (Total, Sats, Mono, Poly, TFA). | +12%
63 | QM002157 | Additional methods/characteristics that can be requested under QM002157 - Chemistry
64 | QM002157 | Active | A029 | 40605 | Determination of pH | LM026 | A029 | 10355 | pH | 10 | GBP | LM 026 |  |  | No Change
65 | QM002157 | Active | A029 | 40604 | Particle size using petrol | LM135 | A029 | 10161 | Particle size distribution | 50 | GBP | LM135 | û | Includes a number of different sieve sizes (please see Golden Inspection Plan). These must be selected by customers on analysis. Cost of analysis is 50.00 GBP regardless of number of sieves chosen. | No Change
66 | QM002157 | Active | A029 | 1337 | Granulometry by Sieving | LI-00.160-3 | A029 | 10161 | Particle size distribution | 50 | GBP | LM134(LI-00.160) | û | Includes a number of different sieve sizes (please see Golden Inspection Plan). These must be selected by customers on analysis. Cost of analysis is 50.00 GBP regardless of number of sieves chosen. | No Change
67 | QM002157 | Active | A029 | 40603 | Free Fat in chocolate and liquor | LM147 | A029 | 10216 | Fat, free | 20 | GBP | LM147 | û |  | No Change
68 | QM002157 | Active | A029 | 82 | Free fat - Soxhlet | LI-00.523 | A029 | 10216 | Fat, free | 20 | GBP | LM010(LI-00.523) | û |  | No Change
69 | QM002157 | Active | A029 | 40623 | Moisture by oven drying | LM143 | A029 | 10181 | Dry matter / total solids | 18 | GBP | LM 143 |  |  | +6%
70 | QM002159 | Microbiological Analysis - QM002159
71 | QM002159 | Salmonella Analysis Methods - QM002159
72 | QM002159 | Active | A029 | 1328 | Assurance GDS Salmonella method | LI-00.801-1 |  |  | Salmonella 1 X 25 g (QL) | 22 | GBP | M012/09 |  |  | +16%
73 | QM002159 | Active | A029 | 1328 | Assurance GDS Salmonella method | LI-00.801-1 | A029 | 10414G03 | Salmonella 1 X 50 g (QL) | 22 | GBP | M012/09 |  |  | +16%
74 | QM002159 | Active | A029 | 1328 | Assurance GDS Salmonella method | LI-00.801-1 | A029 | 10414G04 | Salmonella 1 X 100 g (QL) | 22 | GBP | M012/09 |  |  | +16%
75 | QM002159 | Active | A029 | 1328 | Assurance GDS Salmonella method | LI-00.801-1 | A029 | 10414G05 | Salmonella 1 X 200 g (QL) | 22 | GBP | M012/09 |  |  | +16%
76 | QM002159 | Active | A029 | 1328 | Assurance GDS Salmonella method | LI-00.801-1 | A029 | 10414G12 | Salmonella in environmental sample (QL) | 22 | GBP | M012/09 |  |  | +16%
77 | QM002159 | Active | A029 | 1328 | Assurance GDS Salmonella method | LI-00.801-1 | A029 | 10414G15 | Salmonella 5 x 25 g (QL) | 45 | GBP | M012/09 | û | For pooled samples | +13%
78 | QM002159 | Active | A029 | 1328 | Assurance GDS Salmonella method | LI-00.801-1 | A029 | 10414G13 | Salmonella 10 x 25 g (QL) | 55 | GBP | M012/09 | û | For pooled samples | +10%
79 | QM002159 | Active | A029 | 40859 | Detection of Salmonella | ISO-6579-1:2017/AMD1 | A029 | 10414G02 | Salmonella 1 X 25 g (QL) | 19 | GBP | M012/08 |  | Purina | +12%
80 | QM002159 | Enterobacteriaceae Analysis Methods - QM002159
81 | QM002159 | Active | A029 | 40885 | Detection & Enumeration of EB | ISO-21528-1:2017 | A029 | 12305G02 | Enterobacteriaceae 1 X 0.1 g (QL) | 16 | GBP | M002/04 |  |  | +7%
82 | QM002159 | Active | A029 | 40885 | Detection & Enumeration of EB | ISO-21528-1:2017 | A029 | 12305G03 | Enterobacteriaceae 1 X 1 g (QL) | 16 | GBP | M002/04 |  |  | +7%
83 | QM002159 | Active | A029 | 40885 | Detection & Enumeration of EB | ISO-21528-1:2017 | A029 | 12305G12 | Enterobacteriaceae 2 X 0.1 g (QL) | 24 | GBP | M002/04 |  |  | No Change
84 | QM002159 | Active | A029 | 40885 | Detection & Enumeration of EB | ISO-21528-1:2017 | A029 | 12305G13 | Enterobacteriaceae 2 X 1 g (QL) | 24 | GBP | M002/04 |  |  | No Change
85 | QM002159 | Active | A029 | 40885 | Detection & Enumeration of EB | ISO-21528-1:2017 | A029 | 10185 | Enterobacteriaceae (QN) | 24 | GBP | M002/04 | û |  | No Change
86 | QM002159 | Active | A029 | 40886 | Enumeration of Enterobacteriaceae | ISO-21528-2:2017 | A029 | 10185 | Enterobacteriaceae (QN) | 12 | GBP | M002/01 |  |  | No Change
87 | QM002159 | Active | A029 | 40886 | Enumeration of Enterobacteriaceae | ISO-21528-2:2017 | A029 | 12569 | Enterobacteriaceae Presumptive (QN) | 13 | GBP | M002/01 |  | EB counts are reported as presumptive and are only confirmed when requested by the customer. | +18%
88 | QM002159 | Coliform Analysis Methods - QM002159
89 | QM002159 | Active | A029 | 40324 | Detection & enumeration of coliforms MPN | ISO-4831:2006 | A029 | 12616G01 | Coliforms 1 X 0.1 g (QL) | 16 | GBP | M003/01 |  |  | +14%
90 | QM002159 | Active | A029 | 40324 | Detection & enumeration of coliforms MPN | ISO-4831:2006 | A029 | 12616G02 | Coliforms 1 X 1 g (QL) | 16 | GBP | M003/01 |  |  | +14%
91 | QM002159 | Active | A029 | 40324 | Detection & enumeration of coliforms MPN | ISO-4831:2006 | A029 | 12616G08 | Coliforms 2 X 0.1 g (QL) | 32 | GBP | M003/01 |  |  | +14%
92 | QM002159 | Active | A029 | 40324 | Detection & enumeration of coliforms MPN | ISO-4831:2006 | A029 | 12616G07 | Coliforms 2 X 1 g (QL) | 32 | GBP | M003/01 |  |  | +14%
93 | QM002159 | Active | A029 | 40324 | Detection & enumeration of coliforms MPN | ISO-4831:2006 | A029 | 10137 | Coliforms (QN) | 60 | GBP | M003/01 | û |  | No Change
94 | QM002159 | Listeria Analysis Methods - QM002159
95 | QM002159 | Active | A029 | 1271 | Detection of Listeria by Rapid' L.mono | LI-00.755-1 | A029 | 12311G02 | Listeria monocytogenes 1 X 25 g (QL) | 25 | GBP | M013/04 |  |  | No Change
96 | QM002159 | Active | A029 | 1271 | Detection of Listeria by Rapid' L.mono | LI-00.755-1 | A029 | 12311G11 | Listeria Mono environmental sample(QL) | 25 | GBP | M013/04 |  |  | No Change
97 | QM002159 | Active | A029 | 1271 | Detection of Listeria by Rapid' L.mono | LI-00.755-1 | A029 | 12310G11 | Listeria SPP in environmental sample(QL) | 25 | GBP | M013/04 |  |  | No Change
98 | QM002159 | Additional Analysis Methods - QM002159
99 | QM002159 | Active | A029 | 40517 | Colony count at 30°C by pour plate tech | ISO-4833-1:2013 | A029 | 10011 | Aerobic mesophilic microorganisms | 16 | GBP | M001/01 |  |  | +14%
100 | QM002159 | Active | A029 | 40148 | Enum. beta-glucoronidase + E.coli on TBX | ISO-16649-2:2001 | A029 | 10188 | E. Coli (QN) | 13 | GBP | M006/03 | û |  | No Change
101 | QM002159 | Active | A029 | 40272 | Enumeration Yeasts Moulds Aw >0.95 | ISO-21527-1:2008 |  |  |  | 26 | GBP | M009/01 | û |  | +8%
102 | QM002159 | Active | A029 | 40273 | Enumeration Yeasts Moulds Aw < 0.95 | ISO-21527-2:2008 |  |  |  | 26 | GBP | M009/03 | û |  | +8%
103 | QM002159 | Active | A029 | 41004 | Enumeration of coag+ staphylococci BP | ISO-6888-1:2021 | A029 | 11603 | Coagulase POS.Staphylococci(QN) | 27 | GBP | M007/01 |  |  | +8%
104 | QM002159 | Active | A029 | 40189 | Coagulase pos. Staphylococci MPN tech. | ISO-6888-3:2003 | A029 | 12653G01 | Coag. POS.Staphylococci 1 X 0.1 g (QL) | 27 | GBP | M007/02 | û |  | +8%
105 | QM002159 | Active | A029 | 40189 | Coagulase pos. Staphylococci MPN tech. | ISO-6888-3:2003 | A029 | 12653G02 | Coag. POS.Staphylococci 1 X 1 g (QL) | 27 | GBP | M007/02 | û |  | +8%
106 | QM002159 | Active | A029 | 1675 | Enumeration of B. cereus by RAPID’B.Cereus | LI-00.729 | A029 | 12610 | Bacillus Cereus presumptive (QN) | 28 | GBP | M008/01 |  | Bacillus cereus are always reported as presumptive. Accreditation pending | +12%
107 | QM002159 | Active | A029 | 40343 | Enumeration of Clostridium perfringens | ISO-7937:2004 | A029 | 10131 | Clostridium perfringens (QN) | 30 | GBP | M011/01 | û |  | No Change
108 | QM002159 | Active | A029 | 40936 | Enumeration of lactic acid bacteria | ISO-15214:1998 | A029 | 11532 | Lactic acid bacteria | 32 | GBP | M016/01 | û |  | +7%
109 | QM002159 | Water Analysis Methods - QM002159
110 | QM002159 | Active | A029 | 40521 | Total count in waters at 22°C | ISO-6222:1999 (22°C ) | A029 | 10798 | Micro-organisms, Culturable | 10 | GBP | M043/03 | û | Water | +25%
111 | QM002159 | Active | A029 | 40522 | Total count in waters at 36°C | ISO-6222:1999 (36°C ) | A029 | 10798 | Micro-organisms, Culturable | 10 | GBP | M043/03 | û | Water | +25%
112 | QM002159 | Active | A029 | 40901 | Enumeration of legionella | ISO-11731:2017 | A029 | 11987 | Legionella spp. (QN) | 29 | GBP | M045/01 | û | Water | +12%
113 | QM002159 | Active | A029 | 40620 | Enum of E. Coli & Coliform by filtration | ISO-9308-1:2014/AMD1:2016 | A029 | 10137 | Coliforms (QN) | 5 | GBP | M044/01 | û | Water | +25%
114 | QM002159 | Active | A029 | 40620 | Enum of E. Coli & Coliform by filtration | ISO-9308-1:2014/AMD1:2016 | A029 | 10188 | E. Coli (QN) | 5 | GBP | M044/01 | û | Water | +25%
115 | QM002159 | Active | A029 | 40934 | Detection of Salmonella spp. In water | ISO-19250:2010 | A029 | 10414G61 | Salmonella 1 X 100 mL (QL) | 25 | GBP | M046/01 | û | Water | +25%
116 | QM002159 | Active | NA | NA |  |  |  |  | Biochemical and serological testing for Salmonella, from isolate (3 days Turn-Around-Time from purified culture) | 150 | GBP | M012/01 | û | Microbial identification | No Change
117 | QM002159 | Active | NA | NA |  |  |  |  | Biochemical testing (3 days Turn-Around-Time from purified culture) | 125 | GBP | M036/01 | û | Microbial identification | No Change
118 |  | End of GLOBE LIMS list of methods/characteristics.